## Slide 1: .crash course
Christina Protopapadaki, Filip Jorissen & Bram van der Heijde
Christina.Protopapadaki@bwk.kuleuven.be Filip.Jorissen@mech.kuleuven.be,
Bram.vanderHeijde@kuleuven.be
October 13, 2016

## Slide 2: Modelica crash course
What is Modelica ?
Syntaxis, language concepts and model structuring
Modelica tools
Use of IDEAS library
Getting started (tutorials, reference docs, libraries, software implementations, ...)
 To get you started with Modelica!

## Slide 3
 | Agenda
13:00 - 13:15 | What is modelica? Where do I find information?
13:15 - 13:45 | Theory + Dymola + style guide
13:45 – 14:00 | Version control
14:00 – 14:30 | What is IDEAS?
14:30 - 15:30 | IDEAS: SimpleHouse Hands-on
15:30 - 16:30 | Advanced topics
16:30 - 17:00 | Demo IDEAS Building model (optional)

## Slide 4
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 5
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 6
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 7
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 8
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 9: What is Modelica
Modelica is a language for modeling of physical systems
  open source
  object oriented
  Acausal modeling (equation based)
  multi-domain
  primarily for simulation, but usable for optimization
  small and large models (> 100 000 equations)
  many model libraries (free and commercial)
  textual and graphical modeling

## Slide 10: How does Modelica work?

## Slide 11: Equations
Arithmetic operators
  *, /, +, -, ^ (use . for element-wise)
Derivatives
  der(x) = x ~
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 12: Logical operators, control flow
Logical
  and, or, not
Conditional
  If, elseif, else
Loops
  for

## Slide 13: Models
From M. Tiller, Modelica by Example, http://book.xogeny.com

## Slide 14: Comments
Very important!
Comments regarding components, parameters, variables
  “this is a comment”
  Can show up in graphical interface
Line comments
  // This is a comment on one line
  /* This is a comment over multiple lines */

## Slide 15
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 16: Connectors
Usually
  Signal in out
  Fluid flow (mass flow rate, pressure, enthalpy)
  Heat flow (heat flow rate, temperature)
flow variable, potential variable
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 17: Components
Instances of a model
model name usually Capitalized, instance not
  Wall innerWall(res = 200, A = 10)
public variables and parameters can be accessed with dot notation, e.g.:
  heatPort.Qflow
  wall.res
Protected variables/params cannot be accessed
  Don’t show up in simulation results

## Slide 18: Inheritance
Model inherits from other model
  Variables, parameters, equations
partial model
Code can be managed more easily
Example

## Slide 19
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 20
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 21: Inheritance and connectors
Slides from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 22
Slide from Peter Fritzson, Introduction to Object-Oriented Modeling, Simulation and Control with Modelica, Tutorial for Modelica Conference 2011, Dresden

## Slide 23: Language constructs from Lib.Introduction
Keywords: model, parameter, type, equation
start value
boolean
non-linear system, nb eq = nb var
conditional statement

## Slide 24: Language constructs from task: eq. based
Type of variables
Type of equations (thermal resistance, capacitance, Kirchhoff-rules, ... ) (see picture)
Loop construction
Remarks:
  use start values instead of initial eq.
  ones(n)
  pre-made types (Modelica.SIunits)
  use “dummy variables” to split code (Q_flows)
  time
  protected vs public
  give formula after declaration of variable
  checkModel: what happen if synthax incorrect or what happen if eq. missing?

## Slide 25: Language constructs from task: object-based
Open the different object (resistor, ...)
Modelica standard library
extends
object.Q_flow, direction of flow
connect: potential variable (= in connector), flow variable (sum = 0 in connector).
partial
real expression, each, connect, annotation

## Slide 26: Language constructs
Classes and instances
Connectors
Inheritance
  partial model
  Extends
Use external data

## Slide 27: Exercise 1
See exercise sheet

## Slide 28
Exercise 2
IDEAS demo
Low energy office building with 2 thermal zones & floor heating
→Simulate for 1 month, check indoor temperatures & heat demand
*In the back and front as well as above and below there are other offices which maintain the same temperature.
NORTH
(depth: 2.7m)
SOUTH
(depth: 2.7m)
Notes:   10’ - JModelica (demo)
  5’ - Tutorials and reference documentation (slides)
  30’ - Libraries: MSL and own libraries (dymola demo)
  10’ - simman and pymosim (python demo)
  5’ - Coding conventions (slides)
  5’ - Dymola licenses at TME (slides)
1u05 min

## Slide 29: Exercise 2
IDEAS demo
Low energy office building with 2 thermal zones & floor heating
Envelope
Materials (to model, optional)
  Tile: λ=1.4 W/mK, c=840 J/kgK, ρ=2100 kg/m3
  Screed: λ=0.6 W/mK, c=860 J/kgK, ρ=1100 kg/m3
  Concrete: λ=1.7 W/mK, c=840 J/kgK, ρ=2400 kg/m3
Windows
  Glazing: Saint Gobain Clima Plus Futur (U = 1.4 W/m2K, g = 0.755)
  Frame: U-value=2.5 W/m2k , fraction of the window: f=0.15
Infiltration: n50=12 ACH (ventilation indirectly included)
Geometry: use internal dimensions (not completely right)
 | Composition (out→in or propsBus b→a) |  |  |  | 
Floor (to model) | Tile (d=0.01m) | Screed (0.06)* | PUR (0.04) | Concrete (0.20) | Plaster (0.02)
Exterior wall | Brick (0.10) | MW (0.16) | Brick (0.14) | Plaster (0.02) | 
Interior wall | Plaster (0.02) | Brick (0.10) | Plaster (0.02) |  | 
* Floor heating tube is situated at position 2 (between Screed and PUR) |  |  |  |  | 
Notes:   10’ - JModelica (demo)
  5’ - Tutorials and reference documentation (slides)
  30’ - Libraries: MSL and own libraries (dymola demo)
  10’ - simman and pymosim (python demo)
  5’ - Coding conventions (slides)
  5’ - Dymola licenses at TME (slides)
1u05 min

## Slide 30
IDEAS demo
Low energy office building with 2 thermal zones & floor heating
Heating system (use IDEAS heating systems)
  Radiators (no floor heating)
  Floor heating
Exercise 2

## Slide 31
IDEAS demo
Low energy office building with 2 thermal zones & floor heating
Ideas for playing around
  Change parameters heating (heating curve, type of heater)
  Change parameters structure (insulation, windows, materials)
  Add internal gains according to schedule
  Night temperature set back
  Add shading blinds to south windows (+ shading schedule)
  More realistic office occupancy profiles
  Add ventilation system
  Different water set temperature per zone (tough)
  Add a thermal zone (tougher)
  Include pressure drops (toughest)
Exercise 2

## Slide 32: How does Dymola work?

## Slide 33: Modelica environments
Commercial software tools
Dymola (Dassault Systèmes, Sweden)
MathModelica (MathCore, Sweden)
SimulationX (ITI, Germany)
MapleSim (Maplesoft, Canada)
Free and open source tools
OpenModelica (Open Source Modelica Consortium, Sweden and other countries)
JModelica (Modelon, Sweden)

## Slide 34: What does Dymola do?
Compiles equations
  Finds solution to ODEs at indicated times
  
  Different solvers
    Radau, Dassl, Euler, Runge-Kutta,…
    Define start and end time, time step
    Define Solver tolerance
Simulates model
Plots output

## Slide 35: Graphical user interface

## Slide 36: Graphical user interface

## Slide 37: Graphical user interface

## Slide 38: Graphical user interface

## Slide 39: Interface with other programs
Scripting
  Parameter variation
  Parallel simulations
  Optimal control
Python scripts using BuildingsPy
  Nice for plotting
  http://simulationresearch.lbl.gov/modelica/buildingspy/
MATLAB
  Built-in with Dymola

## Slide 40: Websites
General
www.modelica.org
www.openmodelica.org
www.jmodelica.org
http://www.claytex.com/tech-blog/
Modelica language
http://modref.xogeny.com/ !!!
http://book.xogeny.com/ !!!
KUL modeling conventions
https://docs.google.com/document/d/1MaNKTdLz-YPpEEH3Eg12ECzG0ErK-rIK9IHd6gsBp7Q/edit?usp=sharing
Libraries:
https://github.com/open-ideas --> IDEAS + Crash Course
https://simulationresearch.lbl.gov/modelica --> look at Buildings.Examples.Tutorial
Annex 60: https://github.com/iea-annex60/modelica-annex60
Dymola user guide
Volume 1 & 2: C:\Program Files (x86)\Dymola 2017\Documentation\Dymola User Manual Volume 1 or via Dymola > help.

## Slide 41: Fora
http://www.openmodelica.org/index.php/forum
http://www.jmodelica.org/forum
www.stackoverflow.com (tag Modelica)
And last but not least: https://groups.google.com/d/forum/modelicans

## Slide 42: Use of Dymola with KULeuven license
Access to a floating licence (on the building physics server).
Connected physically (cable) to the building physics or mech network
Open Dymola and go to help>licence..
Enter 10.112.72.4 and follow instructions
More information on Modelicans (google groups)

## Slide 43: Break
Time to activate and borrow your license!